Installation for a low power fixture MAINLY DOMESTIC APPLICATIONS

There are 5 easy steps to install ESL Next G Fluoro (T5 Retrofit T8):

1. Turn off the power supply.

2. Take the T8 tube out.

3. Take the starter out.

4. Install the ESL T5 light the same way as you install normal T8 light.

5. Push the ESL T5 light in and twist it up.

Installation for a high power fixture

There are 5 easy steps to install ESL Next G Fluoro (T5 Retrofit T8):

1. Turn off the power supply.

2. Take the T8 tube out.

3. Take the starter out.

3A.Disconnect Power Factor Correcting Capacitor (power factor will be reduced)

4. Install the ESL T5 light the same way as you install normal T8 light.

5. Push the ESL T5 light in and twist it up.